The Present Status of Indonesian Tide Gauge Network and

Indonesian Permanent GPS Station Network

prepared by: Cecep Subarya

The Indonesian National Coordination Agency for Surveying and Mapping (BAKOSURTANAL).

email: geodesi@indo.net.id ; phone : 62 21 8757329 ; fax : 62 21 875 2064

## INTRODUCTION

The Digital Marine Resource Mapping (DMRM) Project within Indonesian Waters, was carried out in verification of a total of 233 archipelagic basepoints positioning by utilizing Global Positioning System (GPS) observation technique. The Archipelagic basepoints provides geodetic coordinates on the determination of Indonesia’s territorial sea baselines, contiguous zone, exclusive economic zone and continental shelf, to enable the Government of Indonesia to fulfill the requirements laid down in UNCLOS’82 which confirms the intention to affirm the territorial state of the Republic of Indonesia and its sovereignty.

Article 5 of UNCLOS’82 defines the baseline as “the low-water line along the  coast as marked on large scale charts officially recognized by coastal State”. “Low water” is not more clearly defined and the DMRM Project has elected to use the Lowest Astronomical Tide (LAT) in order to maximizes the area Indonesia can claim under UNCLOS. A Basepoint is a position of the outermost of land with an altitude of zero based on LAT. Its position is either determined by range and bearing from a concrete Basepoint Reference Monument (BRM) or based on topographic maps, chart, and remotely sensed imagery.

In addition to existing network of sea level gauges of 28 Tide Stations which was as part of the TOGA project and GLOSS network, those gauges have at least 10 years of tidal records,a new Tide Gauge Network comprising 25 Tide Stations was installed and completed at the end of 1998, giving coverage along and inside the Archipelagic Baselines. The data collected from the Tide Stations are used to determine LAT Chart Datum, Harmonic Constants and different Tidal Levels.

Basepoint Reference Monuments and Tide Gauge Benchmark (TGBM) positions was verified by GPS relative positioning using geodetic type dual frequency GPS receivers. Geometric network design of GPS measurement is made in form of a triangle connected to the Zeroth and First Order Geodetic Control Network of Indonesia. The positions for the Zeroth Order Geodetic Control Network sites were used to define the Indonesian Geodetic Datum 1995 (IGD95) or Datum Geodesi Nasional 1995 (DGN95).

The GPS observation at both the BRM and the Zeroth & First Order Control Network sites were combined in a single regional & global GPS solution in terms of the International Terrestrial Reference Frame 1997 (ITRF97) and the resulting coordinates were mapped to a common epoch of 1999.0. ITRF could be considered as a 3D earth-centered Cartesian coordinate system. The BRM and TGBM will have latitude, longitude and height values that relate to a reference ellipsoid called the World Geodetic System 1984 (WGS84).

This report presents in brief the recent status of Tide Gauge Network, Geodetic (GPS) Control Network and Permanent GPS Station Network in Indonesia.

## INDONESIAN TIDE GAUGE NETWORK

## The establishment of Indonesian Tide Gauge Network is specifically for the purpose of measuring sea level according to different accuracy requirement, from the operational requirement of ship navigation; network of vertical control points and to long-term predictions of global sea level variations due to climate change.

## A local employee maintains the Tidal Station; each station has its own Tide Gauge Bench Mark (TGBM), which is used as the primary reference point.  A benchmark is a clearly marked point located on a stable surface such as exposed rock, a quay wall or a substantial building. The tide staff zero shall be referred to the TGBM.

## Each station of the new network equipped with SM5075 logging hardware and has standard ports operation based on software for remote operation, periodic (daily) acquisition of data and to carry out necessary harmonic analysis and tidal predictions is available at Processing Center in Cibinong – BAKOSURTANAL. Some of the most important items of the standard ports are a computerized remote station with ports for analogue and digital sensors; small sampling interval (15 seconds) of the water level observations; local presentation of water levels and barometric pressure; battery backup; communication with the central computer at Processing Center in Cibinong-BAKOSURTANAL using dialed connection on the ordinary telephone network; interactive communication between remote station and central computer for setting or changing of parameters.

## Sea level gauges measure the relative motion between the sea surface and the land, and since sea level records are contaminated by land vertical movements at individual tide gauges, the problems of relative motion must be solved by more sophisticated technology if sea level data are to be properly interpreted and used. The advent of GPS, has led to a the opportunity to link a network of tide gauges to more rigorously relate tidal datum to ellipsoidal heights in a consistent highly accurate global reference system.

## In recent years, a select set of TGBM’s of the tide gauge network were connected by high quality GPS measurements to the National Geodetic (GPS) Control Network and the Indonesian Permanent GPS Station Network and therefore to the ITRF. This initial GPS measurement as a case study to get a better understanding of the interaction of the surfaces mentioned above. Initial results of the GPS processing by GAMIT/GLOBK software were available, but further study have not been done.

## INDONESIAN GEODETIC (GPS) CONTROL NETWORK

The availability of modern positioning technologies, such as the satellite based Global Positioning System (GPS), can now provide a homogeneous geodetic network. This geodetic network is part of an integrated plan for geodetic development in Indonesia, as this network is fundamental  to the development of national spatial data infrastructure.

Since 1989, BAKOSURTANAL has been establishing precise geodetic network in Sumatera observed with GPS to monitor crustal deformation as part of a scientific cooperative program with Scripps Institution of Oceanography,UCSD and Rannselaer Polytechnique Institute, Troy, NY. In 1992, this network is extended from Sumatera to widely spread with good geometry covering the whole country. The present status about 700 control stations with most accessible locations was established, the data collected were processed using GAMIT/GLOBK software, and is classified as the Zeroth & First Order National Geodetic Control Network. The positions for the Zeroth Order Geodetic Control Network sites were used to define the Indonesian Geodetic Datum 1995 (IGD95) or Datum Geodesi Nasional 1995 (DGN95).

The Datum Geodesi Nasional or the Indonesian Geodetic Datum is a realization of the International Terrestrial Reference Frame. ITRF is a global network of accurate coordinates (and their velocities) maintained by the International Earth Rotation Service (IERS) and derived from geodetic observations (VLBI – Very Long Baseline Interferometry, SLR – Satellite Laser Ranging, GPS and DORIS – Doppler Orbitography and Radio positioning Integrated by Satellite) [Seeber,1993,p442]. The ITRF is a dynamic datum that was introduced in ITRF89 meaning that every year is change. The change between ITRF91 and ITRF92 was less than 2 cm and as more observations became available and computational techniques improved revised reference frames were produced, generally on an annual basis (ITRF93, ITRF94, ITRF96, etc). However, the change between it and subsequent ITRF’s is only of the order of a couple of centimetres [Boucher, 1994].

Starting in 1995 BAKOSURTANAL is being developed the establishment of the Indonesian Permanent GPS Station Network (IPGSN), an array of 13 continuously operating and remotely controlled GPS geodetic receivers for (a) supporting accurate national navigation and geodetic control, (b) monitoring crustal deformation, sea level and assessing seismic hazards, (c) providing an active national geodetic base network, (d) monitoring atmospheric water vapor in support of regional weather forecasting and climatological studies, and (e) facilitating regional and international scientific collaboration.

The present status of the IPGSN is in operational at eight locations, three locations as part of scientific cooperation with SIO-UCSD i.e. Cibinong [BAKO] West Java as IGS global station with domes # 23101M002, Trimble 4000SSi; Medan [SAMP] Northern Sumatera,  Ashtech Z12; Parepare [PARE] Sulawesi, Ashtech Z12; Tolitoli [TOLI] Sulawesi, Ashtech Z12 as part of scientific cooperation with ENS-Paris-France; Watatu [WATP] Sulawesi, Leica CRS1000; Toboli [TOBP] Sulawesi, Leica CRS1000 as part of scientific cooperation with DEOS, Netherlands; Kupang [KOEP] Timor, Leica RS500; Biak [BIKL] Irian Jaya, Leica RS500.

## SUMMARY

This report has given an overview of the establishment of the Indonesian Tide Gauge Network and Indonesian Geodetic (GPS) Control Network. The importance of the network is being devoted to the development of national and international spatial data infrastructure and trends to be consistent with global reference frame the ITRF and WGS84.

# INDONESIAN TIDE GAUGE NETWORK

# AND

# INDONESIAN PERMANENT GPS STATION NETWORK

Legend:               Pelabuhan Ratu		=  Tide Gauge Station of DMRM Project;

(   Cilacap  			=  Existing Tide Gauge Station;											    (   CIBINONG			=  Permanent GPS Station in operational status.

# Text boxes

05° LU

00° LU

05° LS

10° LS

095° BT

100° BT

105° BT

110° BT

115° BT

120° BT

125° BT

130° BT

135° BT

140° BT

Malahayati

Lhokseumawe

Belawan

Tapaktuan

Padang

Pulau Baai

Bangka

Panjang

Banten

Tj. Priok

Pelabuhan Ratu

Cilacap

Semarang

Jepara

Prigi

Surabaya

Kalianget

Celukan Bawang

Benoa

Lembar

Waingapu

Maumere

Ende

Baubau

Uj. Pandang

Parepare

Kotabaru

Balikpapan

Mamuju

Palopo

Kendari

Pantoloan

Tolitoli

Bitung

Luwuk

Badas

Tarakan

Jailolo

Tobelo

Sorong

Tahuna

Ambon

Tual

Manokwari

Biak

Jayapura

Saumlaki

Merauke

Pemangkat

Batam

Sekupang

S O U T H  C H I N A  S E A

I N D I A N  O C E A N

P A C I F I C   O C E A N

J A V A   S E A

B A N D A   S E A

A R A F U R U   S E A

T I M O R   S E A

S U L A W E S I   S E A

Philippine

Malaysia

Brunei

Malaysia

Thailand

Timor Leste

JAKARTA

BENGKULU

Singapore

Sibolga

Christmas Is.

55

75

65

-15

-10

-10

-5

-15

0

0

-20

5

10

15

20

25

10

15

20

25

25

30

35

30

35

20

-10

-5

0

5

10

-20

-15

40

45

40

45

50

50

50

55

55

55

60

60

60

60

60

60

60

60

60

60

55

55

50

50

45

65

65

70

75

75

65

65

65

60

55

50

45

55

70

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

(

CIBINONG

(

(

(

Kupang

(

(

(

(

(

MEDAN

(

(

(

WATATU

TOBOLI

PAREPARE

KUPANG

BIAK

TOLITOLI